## _config
section | key | value
System | freq | 60
System | mva | 100
System | diag_eps | 1e-08
System | warn_abnormal | 1
PFlow | linsolve | 0
PFlow | tol | 1e-06
PFlow | max_iter | 25
PFlow | method | NR
PFlow | n_factorize | 4
PFlow | report | 1
PFlow | degree | 0
PFlow | init_tds | 0
PFlow | linesearch | 1
TDS | linsolve | 0
TDS | method | trapezoid
TDS | tol | 0.0001
TDS | t0 | 0
TDS | tf | 20
TDS | fixt | 1
TDS | shrinkt | 1
TDS | honest | 0
TDS | tstep | 0.033333
TDS | max_iter | 15
TDS | refresh_event | 0
TDS | test_init | 1
TDS | check_conn | 1
TDS | criteria | 1
TDS | ddelta_limit | 180
TDS | g_scale | 1
TDS | reset_tiny | 1
TDS | qrt | 0
TDS | kqrt | 1
TDS | store_z | 0
TDS | store_f | 0
TDS | store_h | 0
TDS | store_i | 0
TDS | limit_store | 0
TDS | max_store | 900
TDS | save_every | 1
TDS | save_mode | auto
TDS | no_tqdm | 0
TDS | chatter_iter | 4
TDS | linesearch | 1
TDS | dtmax | 0
TDS | dtmin_adapt | 0
TDS | abstol | 1e-06
TDS | reltol | 0.001
EIG | linsolve | 0
EIG | plot | 0
EIG | tol | 1e-06
EIG | gy_tol | 1e-06
SE | linsolve | 0
SE | tol | 0.0001
SE | max_iter | 100
SE | flat_start | 0
SE | report | 1
CPF | linsolve | 0
CPF | parameterization | pseudo_arclength
CPF | step | 0.1
CPF | step_min | 0.0001
CPF | step_max | 0.5
CPF | adapt_step | 1
CPF | tol | 1e-06
CPF | max_iter | 20
CPF | max_steps | 500
CPF | stop_at | NOSE
CPF | report | 1
Summary | allow_adjust | 1
Summary | adjust_lower | 0
Summary | adjust_upper | 1
Output | allow_adjust | 1
Output | adjust_lower | 0
Output | adjust_upper | 1
Toggle | allow_adjust | 1
Toggle | adjust_lower | 0
Toggle | adjust_upper | 1
Fault | allow_adjust | 1
Fault | adjust_lower | 0
Fault | adjust_upper | 1
Fault | restore | 1
Fault | mode | 1
Fault | scale | 1
Alter | allow_adjust | 1
Alter | adjust_lower | 0
Alter | adjust_upper | 1
TimeSeries | allow_adjust | 1
TimeSeries | adjust_lower | 0
TimeSeries | adjust_upper | 1
Bus | allow_adjust | 1
Bus | adjust_lower | 0
Bus | adjust_upper | 1
Bus | flat_start | 0
PQ | allow_adjust | 1
PQ | adjust_lower | 0
PQ | adjust_upper | 1
PQ | pq2z | 1
PQ | p2p | 0
PQ | p2i | 0
PQ | p2z | 1
PQ | q2q | 0
PQ | q2i | 0
PQ | q2z | 1
PV | allow_adjust | 1
PV | adjust_lower | 0
PV | adjust_upper | 1
PV | pv2pq | 0
PV | npv2pq | 0
PV | min_iter | 2
PV | err_tol | 0.01
PV | abs_violation | 1
Slack | allow_adjust | 1
Slack | adjust_lower | 0
Slack | adjust_upper | 1
Slack | pv2pq | 0
Slack | npv2pq | 0
Slack | min_iter | 2
Slack | err_tol | 0.01
Slack | abs_violation | 1
Slack | av2pv | 0
Shunt | allow_adjust | 1
Shunt | adjust_lower | 0
Shunt | adjust_upper | 1
ShuntTD | allow_adjust | 1
ShuntTD | adjust_lower | 0
ShuntTD | adjust_upper | 1
ShuntSw | allow_adjust | 1
ShuntSw | adjust_lower | 0
ShuntSw | adjust_upper | 1
ShuntSw | min_iter | 2
ShuntSw | err_tol | 0.01
Fortescue | allow_adjust | 1
Fortescue | adjust_lower | 0
Fortescue | adjust_upper | 1
Line | allow_adjust | 1
Line | adjust_lower | 0
Line | adjust_upper | 1
Jumper | allow_adjust | 1
Jumper | adjust_lower | 0
Jumper | adjust_upper | 1
Area | allow_adjust | 1
Area | adjust_lower | 0
Area | adjust_upper | 1
ACE | allow_adjust | 1
ACE | adjust_lower | 0
ACE | adjust_upper | 1
ACE | freq_model | BusFreq
ACE | interval | 4
ACE | offset | 0
ACEc | allow_adjust | 1
ACEc | adjust_lower | 0
ACEc | adjust_upper | 1
ACEc | freq_model | BusFreq
ZIP | allow_adjust | 1
ZIP | adjust_lower | 0
ZIP | adjust_upper | 1
FLoad | allow_adjust | 1
FLoad | adjust_lower | 0
FLoad | adjust_upper | 1
GENCLS | allow_adjust | 1
GENCLS | adjust_lower | 0
GENCLS | adjust_upper | 1
GENCLS | vf_lower | 1
GENCLS | vf_upper | 5
GENROU | allow_adjust | 1
GENROU | adjust_lower | 0
GENROU | adjust_upper | 1
GENROU | vf_lower | 1
GENROU | vf_upper | 5
PLBVFU1 | allow_adjust | 1
PLBVFU1 | adjust_lower | 0
PLBVFU1 | adjust_upper | 1
TG2 | allow_adjust | 1
TG2 | adjust_lower | 0
TG2 | adjust_upper | 1
TG2 | deadband | 0
TG2 | hardlimit | 1
TGOV1 | allow_adjust | 1
TGOV1 | adjust_lower | 0
TGOV1 | adjust_upper | 1
TGOV1DB | allow_adjust | 1
TGOV1DB | adjust_lower | 0
TGOV1DB | adjust_upper | 1
TGOV1N | allow_adjust | 1
TGOV1N | adjust_lower | 0
TGOV1N | adjust_upper | 1
TGOV1NDB | allow_adjust | 1
TGOV1NDB | adjust_lower | 0
TGOV1NDB | adjust_upper | 1
IEEEG1 | allow_adjust | 1
IEEEG1 | adjust_lower | 0
IEEEG1 | adjust_upper | 1
IEESGO | allow_adjust | 1
IEESGO | adjust_lower | 0
IEESGO | adjust_upper | 1
GAST | allow_adjust | 1
GAST | adjust_lower | 0
GAST | adjust_upper | 1
HYGOV | allow_adjust | 1
HYGOV | adjust_lower | 0
HYGOV | adjust_upper | 1
HYGOVDB | allow_adjust | 1
HYGOVDB | adjust_lower | 0
HYGOVDB | adjust_upper | 1
HYGOV4 | allow_adjust | 1
HYGOV4 | adjust_lower | 0
HYGOV4 | adjust_upper | 1
SHAFT5 | allow_adjust | 1
SHAFT5 | adjust_lower | 0
SHAFT5 | adjust_upper | 1
IEEEVC | allow_adjust | 1
IEEEVC | adjust_lower | 0
IEEEVC | adjust_upper | 1
EXDC2 | allow_adjust | 1
EXDC2 | adjust_lower | 0
EXDC2 | adjust_upper | 1
IEEEX1 | allow_adjust | 1
IEEEX1 | adjust_lower | 0
IEEEX1 | adjust_upper | 1
ESDC1A | allow_adjust | 1
ESDC1A | adjust_lower | 0
ESDC1A | adjust_upper | 1
ESDC2A | allow_adjust | 1
ESDC2A | adjust_lower | 0
ESDC2A | adjust_upper | 1
EXST1 | allow_adjust | 1
EXST1 | adjust_lower | 0
EXST1 | adjust_upper | 1
ESST3A | allow_adjust | 1
ESST3A | adjust_lower | 0
ESST3A | adjust_upper | 1
SEXS | allow_adjust | 1
SEXS | adjust_lower | 0
SEXS | adjust_upper | 1
IEEET1 | allow_adjust | 1
IEEET1 | adjust_lower | 0
IEEET1 | adjust_upper | 1
EXAC1 | allow_adjust | 1
EXAC1 | adjust_lower | 0
EXAC1 | adjust_upper | 1
EXAC2 | allow_adjust | 1
EXAC2 | adjust_lower | 0
EXAC2 | adjust_upper | 1
EXAC4 | allow_adjust | 1
EXAC4 | adjust_lower | 0
EXAC4 | adjust_upper | 1
ESST4B | allow_adjust | 1
ESST4B | adjust_lower | 0
ESST4B | adjust_upper | 1
ESST4B | ksr | 2
ESST4B | ksm | 2
AC8B | allow_adjust | 1
AC8B | adjust_lower | 0
AC8B | adjust_upper | 1
AC8B | ks | 2
IEEET3 | allow_adjust | 1
IEEET3 | adjust_lower | 0
IEEET3 | adjust_upper | 1
ESAC1A | allow_adjust | 1
ESAC1A | adjust_lower | 0
ESAC1A | adjust_upper | 1
ESST1A | allow_adjust | 1
ESST1A | adjust_lower | 0
ESST1A | adjust_upper | 1
ESAC5A | allow_adjust | 1
ESAC5A | adjust_lower | 0
ESAC5A | adjust_upper | 1
IEEEST | allow_adjust | 1
IEEEST | adjust_lower | 0
IEEEST | adjust_upper | 1
IEEEST | freq_model | BusFreq
ST2CUT | allow_adjust | 1
ST2CUT | adjust_lower | 0
ST2CUT | adjust_upper | 1
ST2CUT | freq_model | BusFreq
Motor3 | allow_adjust | 1
Motor3 | adjust_lower | 0
Motor3 | adjust_upper | 1
Motor5 | allow_adjust | 1
Motor5 | adjust_lower | 0
Motor5 | adjust_upper | 1
BusFreq | allow_adjust | 1
BusFreq | adjust_lower | 0
BusFreq | adjust_upper | 1
BusROCOF | allow_adjust | 1
BusROCOF | adjust_lower | 0
BusROCOF | adjust_upper | 1
PMU | allow_adjust | 1
PMU | adjust_lower | 0
PMU | adjust_upper | 1
PLL1 | allow_adjust | 1
PLL1 | adjust_lower | 0
PLL1 | adjust_upper | 1
PLL2 | allow_adjust | 1
PLL2 | adjust_lower | 0
PLL2 | adjust_upper | 1
FreqDiv | allow_adjust | 1
FreqDiv | adjust_lower | 0
FreqDiv | adjust_upper | 1
Node | allow_adjust | 1
Node | adjust_lower | 0
Node | adjust_upper | 1
Node | flat_start | 0
Ground | allow_adjust | 1
Ground | adjust_lower | 0
Ground | adjust_upper | 1
R | allow_adjust | 1
R | adjust_lower | 0
R | adjust_upper | 1
L | allow_adjust | 1
L | adjust_lower | 0
L | adjust_upper | 1
C | allow_adjust | 1
C | adjust_lower | 0
C | adjust_upper | 1
RCp | allow_adjust | 1
RCp | adjust_lower | 0
RCp | adjust_upper | 1
RCs | allow_adjust | 1
RCs | adjust_lower | 0
RCs | adjust_upper | 1
RLs | allow_adjust | 1
RLs | adjust_lower | 0
RLs | adjust_upper | 1
RLCs | allow_adjust | 1
RLCs | adjust_lower | 0
RLCs | adjust_upper | 1
RLCp | allow_adjust | 1
RLCp | adjust_lower | 0
RLCp | adjust_upper | 1
VSCShunt | allow_adjust | 1
VSCShunt | adjust_lower | 0
VSCShunt | adjust_upper | 1
REGCA1 | allow_adjust | 1
REGCA1 | adjust_lower | 0
REGCA1 | adjust_upper | 1
REGCP1 | allow_adjust | 1
REGCP1 | adjust_lower | 0
REGCP1 | adjust_upper | 1
REECA1 | allow_adjust | 1
REECA1 | adjust_lower | 0
REECA1 | adjust_upper | 1
REECA1 | kqs | 2
REECA1 | kvs | 2
REECA1 | tpfilt | 0.02
REECA1E | allow_adjust | 1
REECA1E | adjust_lower | 0
REECA1E | adjust_upper | 1
REECA1E | kqs | 2
REECA1E | kvs | 2
REECA1E | tpfilt | 0.02
REECA1G | allow_adjust | 1
REECA1G | adjust_lower | 0
REECA1G | adjust_upper | 1
REECA1G | kqs | 2
REECA1G | kvs | 2
REECA1G | tpfilt | 0.02
REECB1 | allow_adjust | 1
REECB1 | adjust_lower | 0
REECB1 | adjust_upper | 1
REECB1 | kqs | 2
REECB1 | kvs | 2
REECB1 | tpfilt | 0.02
REPCA1 | allow_adjust | 1
REPCA1 | adjust_lower | 0
REPCA1 | adjust_upper | 1
REPCA1 | kqs | 2
REPCA1 | ksg | 2
REPCA1 | freeze | 1
WTDTA1 | allow_adjust | 1
WTDTA1 | adjust_lower | 0
WTDTA1 | adjust_upper | 1
WTDS | allow_adjust | 1
WTDS | adjust_lower | 0
WTDS | adjust_upper | 1
WTARA1 | allow_adjust | 1
WTARA1 | adjust_lower | 0
WTARA1 | adjust_upper | 1
WTPTA1 | allow_adjust | 1
WTPTA1 | adjust_lower | 0
WTPTA1 | adjust_upper | 1
WTTQA1 | allow_adjust | 1
WTTQA1 | adjust_lower | 0
WTTQA1 | adjust_upper | 1
WTARV1 | allow_adjust | 1
WTARV1 | adjust_lower | 0
WTARV1 | adjust_upper | 1
REGCV1 | allow_adjust | 1
REGCV1 | adjust_lower | 0
REGCV1 | adjust_upper | 1
REGCV2 | allow_adjust | 1
REGCV2 | adjust_lower | 0
REGCV2 | adjust_upper | 1
REGF1 | allow_adjust | 1
REGF1 | adjust_lower | 0
REGF1 | adjust_upper | 1
REGF2 | allow_adjust | 1
REGF2 | adjust_lower | 0
REGF2 | adjust_upper | 1
REGF3 | allow_adjust | 1
REGF3 | adjust_lower | 0
REGF3 | adjust_upper | 1
PVD1 | allow_adjust | 1
PVD1 | adjust_lower | 0
PVD1 | adjust_upper | 1
PVD1 | plim | 1
ESD1 | allow_adjust | 1
ESD1 | adjust_lower | 0
ESD1 | adjust_upper | 1
ESD1 | plim | 1
EV1 | allow_adjust | 1
EV1 | adjust_lower | 0
EV1 | adjust_upper | 1
EV1 | plim | 1
EV2 | allow_adjust | 1
EV2 | adjust_lower | 0
EV2 | adjust_upper | 1
EV2 | plim | 1
DGPRCT1 | allow_adjust | 1
DGPRCT1 | adjust_lower | 0
DGPRCT1 | adjust_upper | 1
DGPRCTExt | allow_adjust | 1
DGPRCTExt | adjust_lower | 0
DGPRCTExt | adjust_upper | 1
COI | allow_adjust | 1
COI | adjust_lower | 0
COI | adjust_upper | 1

## Bus
uid | idx | u | name | Vn | vmax | vmin | v0 | a0 | xcoord | ycoord | area | zone | owner
0 | 1 | 1 | Bus1 | 16.5 | 1.1 | 0.9 | 1.04 | 0 | 0 | 0 | 1 | 1 | 1
1 | 2 | 1 | Bus 2 | 18 | 1.1 | 0.9 | 1.025 | 0.1632 | 0 | 0 | 1 | 1 | 1
2 | 3 | 1 | Bus 3 | 13.8 | 1.1 | 0.9 | 1.025 | 0.089745 | 0 | 0 | 1 | 1 | 1
3 | 4 | 1 | Bus 4 | 230 | 1.1 | 0.9 | 1.0253 | -0.038701 | 0 | 0 | 1 | 1 | 1
4 | 5 | 1 | Bus 5 | 230 | 1.1 | 0.9 | 0.99972 | -0.064232 | 0 | 0 | 1 | 1 | 1
5 | 6 | 1 | Bus 6 | 230 | 1.1 | 0.9 | 1.0123 | -0.062249 | 0 | 0 | 1 | 1 | 1
6 | 7 | 1 | Bus 7 | 230 | 1.1 | 0.9 | 1.0268 | 0.066254 | 0 | 0 | 1 | 1 | 1
7 | 8 | 1 | Bus 8 | 230 | 1.1 | 0.9 | 1.0173 | 0.02334 | 0 | 0 | 1 | 1 | 1
8 | 9 | 1 | Bus 9 | 230 | 1.1 | 0.9 | 1.0327 | 0.04267 | 0 | 0 | 1 | 1 | 1

## PQ
uid | idx | u | name | bus | Vn | p0 | q0 | vmax | vmin | owner
0 | PQ_0 | 1 | PQ_0 | 5 | 230 | 1.25 | 0.5 | 1.1 | 0.9 | 1
1 | PQ_1 | 1 | PQ_1 | 6 | 230 | 0.9 | 0.3 | 1.1 | 0.9 | 1
2 | PQ_2 | 1 | PQ_2 | 8 | 230 | 1 | 0.35 | 1.1 | 0.9 | 1

## PV
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | ra | xs
0 | 2 | 1 | 2 | 250 | 18 | 2 |  | 1.63 | 0.04903 | 2.4 | 0 | 99 | -99 | 1.025 | 1.4 | 0.6 | 0 | 1
1 | 3 | 1 | 3 | 100 | 13.8 | 3 |  | 0.85 | -0.11449 | 0.9 | 0 | 99 | -99 | 1.025 | 1.4 | 0.6 | 0 | 1

## Slack
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | ra | xs | a0
0 | 1 | 1 | 1 | 500 | 16.5 | 1 |  | 0.71627 | 0.27915 | 4.5 | 0 | 99 | -99 | 1.04 | 1.4 | 0.6 | 0 | 1 | 0

## Line
uid | idx | u | name | bus1 | bus2 | Sn | fn | Vn1 | Vn2 | r | x | b | g | b1 | g1 | b2 | g2 | trans | tap | phi | rate_a | rate_b | rate_c | owner | xcoord | ycoord
0 | Line_0 | 1 | Line_0 | 5 | 4 | 100 | 60 | 230 | 230 | 0.01 | 0.068 | 0.176 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
1 | Line_1 | 1 | Line_1 | 6 | 4 | 100 | 60 | 230 | 230 | 0.017 | 0.092 | 0.158 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
2 | Line_2 | 1 | Line_2 | 7 | 5 | 100 | 60 | 230 | 230 | 0.032 | 0.161 | 0.306 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
3 | Line_3 | 1 | Line_3 | 9 | 6 | 100 | 60 | 230 | 230 | 0.039 | 0.1738 | 0.358 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
4 | Line_4 | 1 | Line_4 | 7 | 8 | 100 | 60 | 230 | 230 | 0.0085 | 0.0576 | 0.149 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
5 | Line_5 | 1 | Line_5 | 8 | 9 | 100 | 60 | 230 | 230 | 0.0119 | 0.1008 | 0.209 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
6 | Line_6 | 1 | Line_6 | 4 | 1 | 100 | 60 | 230 | 16.5 | 0 | 0.0576 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
7 | Line_7 | 1 | Line_7 | 2 | 7 | 100 | 60 | 18 | 230 | 0 | 0.0625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
8 | Line_8 | 1 | Line_8 | 9 | 3 | 100 | 60 | 230 | 13.8 | 0 | 0.0586 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0

## Area
uid | idx | u | name
0 | 1 | 1 | 1

## GENCLS
uid | idx | u | name | bus | gen | coi | coi2 | Sn | Vn | fn | D | M | ra | xl | xd1 | kp | kw | S10 | S12 | gammap | gammaq
0 | G1 | 1 | G1 | 1 | 1 |  |  | 100 | 110 | 60 | 0 | 47.28 | 0 | 0 | 0.0608 | 0 | 0 | 0 | 1 | 1 | 1
1 | G2 | 1 | G2 | 2 | 2 |  |  | 100 | 110 | 60 | 0 | 12.08 | 0 | 0 | 0.1198 | 0 | 0 | 0 | 1 | 1 | 1
2 | G3 | 1 | G3 | 3 | 3 |  |  | 100 | 110 | 60 | 0 | 6.02 | 0 | 0 | 0.1813 | 0 | 0 | 0 | 1 | 1 | 1